## CombineBQ
[5 empty] | EXPORT | [5 empty] | COST |  |  |  |  | AI | [10 empty] | SUBCONTRACTOR
[6 empty] | 1.23 | 1.23 | 1.23 | [18 empty] | 1.05 |  | 0.07
Main Key | No. | Description | Unit | Qty | Factor | Labor | Material | Equipment | Rate | Amount | Labor | Material | Equipment | Rate | Amount | Discipline | SortKey | Category | Subcategory | Element | BQ KEY | CleanDescription | Norm Rate | Norm Amount | Ref Rate | Ref Amount | Labor | Material | Equipment | Rate | Amount
【示例分部】
《示例子分部》
{TESTS, REPORTS AND RECORDS}
| 12 | 示例明细项 A | No. | 598 | [11 empty] | Civil & Decoration | A.31 | Testing and Monitoring | Pile Foundation Testing | Low-strain Pile Integrity Testing (PIT)
| 13 | Core-drilling test | No. | 598 | [11 empty] | Civil & Decoration | A.31 | Testing and Monitoring | Pile Foundation Testing | Pile Core Drilling Inspection
| 14 | Cross-hole sonic logging test (including installation of embedded sonic tubes in piles) | No. | 60 | [11 empty] | Civil & Decoration | A.31 | Testing and Monitoring | Pile Foundation Testing | Cross-hole Sonic Logging (CSL)
| 15 | Single-pile vertical compressive static load test | No. | 6 | [11 empty] | Civil & Decoration | A.31 | Testing and Monitoring | Pile Foundation Testing | Static Load Test for Single Pile Capacity
| 16 | Exploratory drilling test | No. | 598 | [11 empty] | Civil & Decoration | A.31 | Testing and Monitoring | Pile Foundation Testing | Pile Core Drilling Inspection
| 17 | Static uplift and lateral load tests | No. | 6 | [11 empty] | Civil & Decoration | A.31 | Testing and Monitoring | Pile Foundation Testing | Static Load Test
| 18 | Construction of slurry pit | M3 | 12 | [11 empty] | Civil & Decoration | A.03 | Piling Works | Bored Cast-in-place Piles | Bored Cast-in-situ Piles with Slurry Support
| 19 | Provide soil test report | Item | 1 | [11 empty] | Civil & Decoration | A.31 | Testing and Monitoring | Ground and Support Testing & Monitoring | Ground Treatment Testing and Inspection
{Other}
| 20 | Allow for all other works and costs not included above but necessary for completion of the "PILING WORKS" as shown on the Drawings and described in the Specification. | Item | 1 | [11 empty] | Civil & Decoration | A.03 | Piling Works | Bored Cast-in-place Piles
Allow for all other works and costs not included above but necessary for completion of the "PILING WORKS" as shown on the Drawings and described in the Specification.
《2.2 - Excavation and Backfilling》
Special Preambles
In addition to the Preamble Notes, the following provisions shall apply specifically to this Contract:
1. The Tenderer shall include all design costs in the rates and prices.
2. In accordance with Clause 7.04 of the Preliminaries, the Tenderer shall complete the Schedule of Quantities and Rates.
3. Quantities in the Schedule of Quantities and Rates do not form part of the Contract and are at the sole risk of the Tenderer.
4. The quantities for all items shall be inserted by the Tenderer.
4. The quantities for all items shall be inserted by the Tenderer.
《2.2 - Excavation and Backfilling》
5. The Tenderer shall insert and price under "OTHER" on the last page of each Schedule all additional items it considers necessary for completion of the Contract.
6. The Tenderer shall complete the "Supply Rate", "Install Rate" and "All-in Rate" columns. The "All-in Rate" equals the "Supply Rate" plus the "Install Rate". The "Supply Rate" includes the material supply price before dispatch from the country or region of origin. The "Install Rate" includes installation, wastage and mark-up.
{EXCAVATION}
| 21 | 示例明细项 B | m2 | 11526.34 | [11 empty] | Civil & Decoration | A.01 | Site Preparation and Earthworks | Site Levelling and Others | Site Levelling
| 22 | Earth excavation for cast-in-place piles | m3 | 4929.015 | [11 empty] | Civil & Decoration | A.01 | Site Preparation and Earthworks | Foundation Earthworks | Earthwork Excavation Between Piles and Internal Strut
| 23 | Excavation | m3 | 23324.7124 | [11 empty] | Civil & Decoration | A.01 | Site Preparation and Earthworks | Foundation Earthworks | Pit Earth Excavation
Excavation
《2.2 - Excavation and Backfilling》
{BACKFILLING AND DISPOSAL}
| 24 | Earth backfilling. | M3 | 4929.0591 | [11 empty] | Civil & Decoration | A.01 | Site Preparation and Earthworks | Foundation Earthworks | Backfilling
| 25 | Disposal of excavated soil off Site | M3 | 18395.6533 | [11 empty] | Civil & Decoration | A.01 | Site Preparation and Earthworks | Foundation Earthworks
{TEMPORARY DRAINAGE SYSTEM}
| 26 | Allow for the temporary drainage system. | Item | 1 | [11 empty] | Civil & Decoration | A.01 | Site Preparation and Earthworks | Standalone Earthworks
{Other}
| 27 | Allow for all other works and costs necessary for completion of the "EXCAVATION AND BACKFILLING" works. | Item | 1 | [11 empty] | Civil & Decoration | A.01 | Site Preparation and Earthworks | Foundation Earthworks
Allow for all other works and costs necessary for completion of the "EXCAVATION AND BACKFILLING" works.
《2.3 - Reinforced Concrete Works》
Special Preambles
In addition to the Preamble Notes, the following provisions shall apply specifically to this Contract:
1. The Tenderer shall include all design costs in the rates and prices.
2. In accordance with Clause 7.04 of the Preliminaries, the Tenderer shall complete the Schedule of Quantities and Rates.
3. Quantities in the Schedule of Quantities and Rates do not form part of the Contract and are at the sole risk of the Tenderer.
4. The quantities for all items shall be inserted by the Tenderer.
4. The quantities for all items shall be inserted by the Tenderer.
《2.3 - Reinforced Concrete Works》
5. The Tenderer shall insert and price under "OTHER" on the last page of each Schedule all additional items it considers necessary for completion of the Contract.
6. The Tenderer shall complete the "Supply Rate", "Install Rate" and "All-in Rate" columns. The "All-in Rate" equals the "Supply Rate" plus the "Install Rate". The "Supply Rate" includes the material supply price before dispatch from the country or region of origin. The "Install Rate" includes installation, wastage and mark-up.
{GRADE OF REINFORCED CONCRETE}
| 28 | Sand cushion under pile caps | M3 | 303.5531 | [11 empty] | Civil & Decoration | A.04 | Cast-in-place Concrete and Reinforcement | Concrete Blinding | Concrete Blinding
| 29 | 300 mm thick graded crushed stone bedding layer, compacted in layers; place each succeeding layer only after the preceding layer has passed inspection; compaction greater than 95%; ground bearing capacity ≥ 100 kPa. | M3 | 2766.4341 | [11 empty] | Civil & Decoration | A.04 | Cast-in-place Concrete and Reinforcement | Concrete Blinding | Concrete Blinding
| 30 | Concrete blinding, f'c = 15 MPa | M3 | 1230.328 | [11 empty] | Civil & Decoration | A.04 | Cast-in-place Concrete and Reinforcement | Concrete Blinding | Concrete Blinding
| 31 | f'c(MPa)35 reinforced concrete pile caps | M3 | 7156.355 | [11 empty] | Civil & Decoration | A.04 | Cast-in-place Concrete and Reinforcement | Foundations and Pile Caps | Pile Caps and Pile Capping Beams
| 32 | f'c(MPa)35 reinforced concrete foundation beams | M3 | 534.0351 | [11 empty] | Civil & Decoration | A.04 | Cast-in-place Concrete and Reinforcement | Cast-in-place Beams | Reinforced Concrete Beams
| 33 | f'c(MPa)35 reinforced concrete raft slab | M3 | 3761.4087 | [11 empty] | Civil & Decoration | A.04 | Cast-in-place Concrete and Reinforcement | Cast-in-place Slabs | Solid Floor Slabs
{Formwork}
| 34 | Formwork to concrete blinding | M2 | 679.0524 | [11 empty] | Civil & Decoration | A.04 | Cast-in-place Concrete and Reinforcement | Foundation Formwork | Concrete Blinding
| 35 | Formwork to pile caps | M2 | 5669.4674 | [11 empty] | Civil & Decoration | A.04 | Cast-in-place Concrete and Reinforcement | Foundation Formwork | Pile Caps and Pile Capping Beams
| 36 | Formwork to foundation beams | M2 | 1323.6255 | [11 empty] | Civil & Decoration | A.04 | Cast-in-place Concrete and Reinforcement | Foundation Formwork | Reinforced Concrete Beams
| 37 | Formwork to raft slab | M2 | 174.3464 | [11 empty] | Civil & Decoration | A.04 | Cast-in-place Concrete and Reinforcement | Foundation Formwork | Solid Floor Slabs
Formwork to raft slab
【TOTAL】

## CostSummary
Summary
| PRELIM | Preliminaries | [5 empty] | #REF!
| 100 | 辅助用工 | 14083500 | 14083500
|  | 洒水车 | 3511200 | 3511200
|  | 加油车 | 508750 | 508750
|  | 发电机 | 3357024 | 3357024
|  | 其他设备 | 2145180 | 2145180
0
| 200 | 工程施工其他直接费 | 0
| 210 | 承包商临时设施费 | 10580858.4 | 10580858.4
| 220 | 提供给业主/监理的服务 | 0 | 0
| 230 | 调遣费 | 5650000 | 5650000
| 240 | 实验检测费 | 8964258.9053 | 8964258.9053
| 250 | HSE专项经费 | 26074500 | 26074500
| 260 | 现场管理费 | 16738000 | 16738000
| 270 | 其他 | 13000000 | 13000000
0
| 300 | 工程实施其他直接费 | 0
| 310 | 地勘及设计、设计审查费 |  | 2800000
| 320 | 保函及保险费 |  | 330000
| 330 | 施工许可证费用 | 3550000 | 3550000
| 340 | 财务费用 | 14205534.5852 | 14205534.5852
| 350 | 维修期费用 | 0 | 0
| 360 | 其他 | 5305600 | 5305600
0
0
| 400 | 间接费 | 0
| 410 | 现场管理人员费用 | 67574472.644 | 67574472.644
| 420 | 税费（关税）
| 430 | 预扣税 |  |  | 0
| 440 | 印花税 |  |  | 0
| 450 | 咨询费 |  |  | 0
| 460 | 风险费 |  |  | 0
| 470 | 利润 |  |  | 0
开办费总计 |  |  | 195248878.5345 | 198378878.5345 | 0 | 0
暂列金和配合费
工程总造价（不含增值税） |  |  |  | #REF! | 0 | 0 | 0

## MainQty
Main Quantity Summary
Discipline | SortKey | Category | Subcategory | Unit | 求和项:Qty | 编号 | 名称 | 单位 | 工程量
[6 empty] | B | 《钢筋》 | kg
[7 empty] | 钢筋10及以内 | kg
[7 empty] | 钢筋10以外 | kg
[7 empty] | 钢筋网片 | m2
[6 empty] | C | 《混凝土》 | m3
[7 empty] | 基础混凝土 | m3
[7 empty] | 梁混凝土 | m3
[7 empty] | 板混凝土 | m3
[7 empty] | 柱混凝土 | m3
[7 empty] | 墙混凝土 | m3
[7 empty] | 其他混凝土 | m3
[6 empty] | D | 《模板》 | m2
[6 empty] | E | 《装配式结构》
[7 empty] | 装配式混凝土 | m3
[7 empty] | 钢结构 | t
[6 empty] | F | 《二次结构》
[7 empty] | 砖砌体 | m3
[7 empty] | 钢砼二次结构 | m3
[7 empty] | 轻质隔墙 | m2
[6 empty] | G | 《防水保温防腐》
[7 empty] | 室内防水 | m2
[7 empty] | 地下室外防水 | m2
[7 empty] | 屋面防水 | m2
[7 empty] | 外墙保温 | m2
[7 empty] | 屋面保温 | m2
[6 empty] | G | 《门窗栏杆屋顶》 | 0
[7 empty] | 室内成套门 | m2
[7 empty] | 室外门窗 | m2
[7 empty] | 栏杆 | m
[7 empty] | 玻璃雨棚幕墙 | m2
[7 empty] | 金属屋顶 | m2
[6 empty] | H | 《楼地面》 | m2
[7 empty] | 地面砂浆 | m2
[7 empty] | 地面涂料 | m2
[7 empty] | 地面块料 | m2
[6 empty] | I | 《内墙面》 | m2
[7 empty] | 内墙抹灰 | m2
[7 empty] | 内墙涂料 | m2
[7 empty] | 内墙瓷砖 | m2
[7 empty] | 内墙装饰 | m2
[6 empty] | H | 《外墙面》 | m2
[7 empty] | 外墙抹灰 | m2
[7 empty] | 外墙涂料 | m2
[7 empty] | 外墙装饰幕墙 | m2
[6 empty] | J | 《天棚》 | m2
[7 empty] | 天棚抹灰 | m2
[7 empty] | 天棚涂料 | m2
[7 empty] | 天棚吊顶 | m2
[7 empty] | 天棚装饰 | m2
[6 empty] | J | 《洁具》
[7 empty] | 洗手台 | 个
[7 empty] | 座便器 | 个
[7 empty] | 淋浴器 | 个
《橱柜》
[7 empty] | 橱柜 | m2
[7 empty] | 地柜 | m

## UniqueBQ
UniqueBQ 数据透视表 | AI RATE | [15 empty] | AI NORM
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Manual Search |  |  |  | AI Search | [8 empty] | Norm-AI
| Name | Unit | Rate | Name | Unit | Rate | Conv Formula | Name | Unit | Unit Conv Formula | Rate | Curr | Ref Project | Supplier | Date | Reason | CODE | Name | Unit | Conv | Rate | Reason

## UniqueShot
UniqueBQ 数据透视表 | [10 empty] | AI RATE | [15 empty] | AI NORM
[11 empty] | 套价 | [19 empty] | 0
[8 empty] | 值 | [5 empty] | Manual Search |  |  |  | AI Search | [8 empty] | Norm-AI
Discipline | SortKey | Category | Subcategory | Element | BQ KEY | CleanDescription | Unit | 求和项:Quantity | 平均值项:入价 | 求和项:入价 Amount | Name | Unit | Rate | Name | Unit | Rate | Conv Formula | Name | Unit | Unit Conv Formula | Rate | Curr | Ref Project | Supplier | Date | Reason | CODE | Name | Unit | Conv | Rate | Reason